## Sheet2
CHECK LIST FOR |  |  | COMPANY NAME HERE |  |  |  |  | COY/JNO./P/MS-01
Activity/ Works
LOCATION / AREA: |  |  |  | IRF Ref. No:
Date:
S.I. NO. | Activities/ Items to be inspected |  |  | Conforms (Y/N) | Inspected by |  |  | Remarks
[5 empty] | COY | MAIN | CLIENT
a). Preparatory Inspection
1
2
3
4
5
6
b). Final Inspection
1
2
3
4
5
6
7
8
Comments/ Discrepancies (if any:)
Works completed in accordance with the approved Specifications & IFC Drawings
Company |  | Name |  | Signature |  | Date | Remarks
COY CT/QC
MAIN CT/QC
Employer
Result: |  |  | Passed |  | Failed
www.qualityengineersguide.com

## Sheet3
CHECK LIST FOR |  |  | HADEED EMIRATES CONTRACTING LLC |  |  |  |  | HEC/J189/CL/MS02-02
Cladding
LOCATION / AREA: |  |  |  | IRF Ref. No:
Date:
S.I. NO. | Activities/ Items to be inspected |  |  | Conforms (Y/N) | Inspected by |  |  | Remarks
[5 empty] | HEC | HLG | ADPC
Sheeting - Roofing
1 | Sheets correctly lapped-sides and ends
2 | The tail-line of sheeting straight
3 | Endlap mastic installed
4 | Roof is clean
5 | Correct fasteners already used
6 | Fasteners are in correct location
7 | Hi rib panels are double screwed at end laps
8 | foam closures installed where shown
9 | Gable trim correctly fixed & aligned
Gutters-Eave
1 | Eave gutters sealed at overlaps and coorect number of rivets installed at the joint
2 | End Caps sealed and fitted
3 | Down pipes oulets sealed and rivetted
4 | Down pipes plumbed and fastened
Gutters - Valley
1 | The splices correctly sealed and bolted
2 | the outlets are sealed
Comments/ Discrepancies (if any:)
Works completed in accordance with the approved Specifications & IFC Drawings
Company |  | Name |  | Signature |  | Date | Remarks
HEC QA/QC
HLG QA/QC
Result: |  |  | Passed |  | Failed